Blood Culture

- Blood culture is done to diagnose blood stream infection (B.S.I.) which may be

    - Bacteraemia Or

    - Septicaemia

Possible Pathogens:

- Bacteria all most all bacteria can cause (BSI) . peritoneal fluid, pleural abscesses.

Gram +ve

- Staphylococcus aureus

- Streptococcus viridans

- Streptococcus pyogenes

- Enterococcus feacalis

- Clostridia perfringens

- Anaerobic gram positive

- M.tuberculosis in Aids patients

- Candida species

Gram –ve

- Salmonella species

- Salmonella typhi and paratypi

- Brucella

- Haemophilus

- Yersina pestis

- E.coli

- Klebsiella species

- Serralia species

- Anaerobic gram negative

- Bacteriodes

- Neisseria meningitidis

- Pseudomonas species

- Leptospirosis

- Collection:

  - 20 ml aseptically from adult patients

  - Smaller volume in younger age

E.g. 2 ml in under 2 years

- Send to the laboratory directly:

- If not possible put in incubator 35-37oC

- If not possible put in room temperature but never in the fridge

- Blood are incubated in:

      - Conventional incubator

      - Automated is

        - Bactec, or Bact Alert

        - These are monitored every 10 minutes in the conventional incubator detection of growth in the bottles can be shown by:

- Turbidity

- Haemolysis

- Seeing colonies on the surface or bottom of the bottle

- When growth is shown in the conventional incubator as shown before or signaled in the automated blood culture do:

    - A gram stain and report the results

    - To the treating physician immediately

    - Then sub culture the positive bottle on BA plate or chocolate and incubate

      - Aerobically

      - Anaerobically

- Identify the isolated bacteria to the species level

- Perform susceptibility testing on all the isolates

- Relay the results to the treating doctor immediately.